## Rabale-T1
Power Usage (All in KW) | Maximum Usable Capacity | Current utilization | Committed (Based on Confirmed orders) | Total | Balance |  |  |  | Target Revenue Thresholds | Target Power Revenue Margin (Bundled) | Target Power Revenue Margin (Metered)
Raw Power (Genset & Transformer & Demand) - KW | 45000 | 15765 | 5488.0586 | 21253.0586 | 23746.9414 |  | Product DOA |  | 6000 | 0% | 5%
UPS Capacity (IDC Output of UPS) L2+L1+L6+T2 L7 | 3020 | 2656 | 711.2698 | 3367.2698 | -347.2698 |  |  |  | From | To
UPS Capacity (IDC Output of UPS) L4 | 2880 | 1978 | 902 | 2880 | 0 |  |  | Far Above | 9000 | Above
UPS Capacity (IDC Output of UPS) L5 | 2880 | 1957 | 923 | 2880 | 0 |  |  | Above | 7200 | 9000 | [5 empty] | Total Load |  | 8059
UPS Capacity (IDC Output of UPS) L3 | 2160 | 1468 | 692 | 2160 | 0 |  |  | Within | 6000 | 7200 |  |  |  | Total Cosumed for subscribed customers |  |  |  | 4781
Other loads (Aircon/Losses/OALAN) | 34060 | 7706 | 0 | 7706 | 26354 |  |  | Far Below | 0 | #REF! |  |  | Total rated power provisioned for rated customers |  |  |  |  | 4597
Space at L2-POD-A in Sq. Ft | 4108.26 | 4108 | 0 | 4108 | 0.26 | [10 empty] | Rated to Subscribed ratio |  | 104%
Space at L2-POD-B in Sq. Ft | 3791.52 | 3791.52 | 0 | 3791.52 | 0
Space at L1 Server Hall in Sq. Ft | 7713 | 7713 | 0 | 7713 | 0
Space at L6 Server Hall in Sq. Ft | 9400 | 9400 | 0 | 9400 | 0
Space at L4 Server Hall in Sq. Ft | 10500 | 10500 | 0 | 10500 | 0
Space at L5 Server Hall in Sq. Ft | 10500 | 10500 | 0 | 10500 | 0
Space at L3 Server Hall in Sq. Ft | 7000 | 7000 | 0 | 7000 | 0 |  | 629 | -82.2698
Shared Racks in L2-POD-A Nos | 52 | 49 | 1 | 50 | 2 |  | -1577.1
Shared Racks in L2-POD-B Nos | 0 | 0 | 0 | 0 | 0 |  | -948.1
Shared Racks in L1-POD-Nos | 23 | 23 | 0 | 23 | 0
Shared Racks in L6-POD-Nos | 131 | 131 | 0 | 131 | 0
[18 empty] | Divisification |  | 0.5 | Rated to Consumed |  | 104% |  | Actual PUE | 1.78 | Actual Unit Rate: | 7.9 | 10422.612 | Genset Hr/Mo | 6
|  | Billing Model |  | Space | [9 empty] | Power Capacity | [10 empty] | Power Usage |  |  |  |  | Seating Space | [7 empty] | Revenue (Monthly ) | [7 empty] | Contract Information
Floor / Module | Customer Name | Power Subscription Model (Rated/Subscribed) | Power Usage Model (Bundled / Metered) | Subscription Mode | Caged /Uncaged | UoM | Subscription | In Use | Yet to be given/ | Billed | Reserved Capacity if any (Non-Billable) | Per Unit rate (MRC) | ARC | Subscription Model | UoM | Total Capacity Purchased | Capacity in Use | Capacity to be given | Reserved Capacity if any | Subscribed Capacity to be given in KW | "Allocated" Capacity in KW | Usage in KW | Billable Additional Capacity | Additional Capacity Charges (MRC) | Usage Model | Multiplier | Uit rate Model (Fixed/Variable) | Unit Rate (per KW-HR) | No Of Units (KW-HR/ Month | Subscription Model | UoM | Subscription | In Use | Yet to be given | Billed | Reserved Capacity if any | Per Unit rate | Space revenue including capacity | Additional Capacity Revenue | Power Usage revenue | Seating Space | Any Other Items | Total Revenue (MRC) | ARC | Billing Frequency | Sales Order ref No | Contract Start Date | Term of Contract (No of Years) | Current Exiry Date | Remarks if any | Avg revenue /Rack /Month | Avg revenue /KW /Month | Net Revenue / Resvd KW | Proj Net Revenue / Resvd KW | Sold Net Revenue / Resvd KW | Total Rev (Cap + Power) | Capacity Revenue | Power Revenue | Cost of Power @ Act Usage | Proj Cost of Power @ Reserv Cap | Cost of Power @ Design Use | Net Rev Total | Target Capacity Revenue | Capacity Surplus/Leakage | Power Surplus/Leakage | Contribution to Target | KW |  | Power Surplus/Leakage | Capacity Surplus/Leakage | Total Surplus/Leakage | Power Surplus/Leakage / KW | Capacity Surplus/Leakage / KW | Total Surplus/Leakage / KW
L2/POD B | BASSEIN CATHOLIC CO.OP.BANK LTD | Subscribed | Bundled | Rack | Uncaged | No of Racks | 5 | 5 | 0 | 5 |  | 58125 | 697500 | Subscribed | KW | 11 | 6.97 | 4.03 |  | 4.03 | 11 | 4.84 |  | 8068.3333 | Bundled |  |  |  | 5015.181 | [8 empty] | 290625 | 0 | 0 | 0 | 26666.6667 | 0 | 0 | Qtrly Adv | 721002416, 731002043, 731002377 | 2015-12-01 | 4 | 2019-12-01 | Including Managed services | 0 | 0 | 19876.189 | 19876.189 | 15997.8425 | 290625 | 175976.268 | 114648.732 | 71986.9215 | 71986.9215 | 114648.732 | 218638.0785 | 66000 | 109976.268 | 42661.8105 | 152638.0785 | 11 | 19876.189 | 42661.8105 | 109976.268 | 152638.0785 | 3878.3464 | 9997.8425 | 13876.189
L2/POD A | SITA SC INDIAN BRANCH | Rated | Bundled | Rack | Uncaged | No of Racks | 1 | 1 | 0 | 1 |  | 74812.5 | 897750 | Rated | KVA | 7 | 1.17 | 5.83 |  | 2.915 | 3.5 | 0.78 |  |  | Bundled | [12 empty] | 74812.5 | 0 | 0 | 0 |  | 0 | 0 | Qtrly Adv |  | 2017-11-01 | 1 | 2018-10-01 |  | 0 | 0 | 19052.2465 | 10371.6996 | 10952.388 | 74812.5 | 38333.358 | 36479.142 | 8129.6374 | 38511.5513 | 36479.142 | 66682.8626 | 21000 | 17333.358 | 28349.5046 | 45682.8626 | 3.5 | 19052.2465 | 28349.5046 | 17333.358 | 45682.8626 | 8099.8585 | 4952.388 | 13052.2465
L2/POD A | AVENUE E-COMMERCE LTD. | Rated | Bundled | Rack | Uncaged | No of Racks | 5 | 5 | 0 | 5 |  | 183333.4167 | 2200001 | Rated | KVA | 35 | 16.74 | 18.26 |  | 9.13 | 17.5 | 12.79 |  | 7500 | Bundled | [12 empty] | 916667.0833 | 0 | 0 | 0 | 72499.7492 | 0 | 0 | Qtrly Adv | 721002589, 721003934, 731002187, 711064456 | 2018-01-01 | 2 | 2019-12-31 |  | 0 | 0 | 44763.5358 | 39325.9102 | 41958.3642 | 916667.0833 | 734271.3733 | 182395.71 | 133305.2075 | 228463.655 | 182395.71 | 783361.8759 | 105000 | 629271.3733 | 49090.5025 | 678361.8759 | 17.5 | 44763.5358 | 49090.5025 | 629271.3733 | 678361.8759 | 2805.1716 | 35958.3642 | 38763.5358
L2/POD A | PRAMERICA LIFE INSURANCE COMPANY LTD | Rated | Bundled | Rack | Uncaged | No of Racks | 2 | 0 | 2 | 2 |  | 96216.6667 | 1154600 | Rated | KVA | 12 | 10.13 | 1.87 |  | 0.935 | 6 | 4.14 |  | 5416.6667 | Bundled | [12 empty] | 192433.3333 | 0 | 0 | 0 | 9166.6667 | 0 | 0 | Qtrly Adv | 121000205 | 2019-05-19 | 1 | 2020-04-20 |  | 0 | 0 | 24880.6199 | 23256.4296 | 21649.6102 | 192433.3333 | 129897.6613 | 62535.672 | 43149.6137 | 52894.7559 | 62535.672 | 149283.7197 | 36000 | 93897.6613 | 19386.0583 | 113283.7197 | 6 | 24880.6199 | 19386.0583 | 93897.6613 | 113283.7197 | 3231.0097 | 15649.6102 | 18880.6199
L2/POD B | STATE BANK OF INDIA TECH OPERATIONS | Rated | Metered | Rack | Caged | No of Racks | 122 | 114 | 8 | 122 | 0 | 14166.6667 | 170000 | Rated | KVA | 732 | 1240 | -508 |  | 0 | 366 | 578.6403 | 601.605 | 3250 | Metered | 1.8 | Variable | 8.2 | 416621 | No of Seats | No of Seats | 30 | 30 | 0 | 30 | 0 | 8333.3333 | 1728333.3333 | 1955216.25 | 6149325.96 | 250000 |  | 10082875.5433 | 120994506.52 | Qtry Ars | 721001751, 721003449, 721003450, 721003451, 721004566 | 2018-02-01 | 4 | 2022-01-01 |  | 82646.5208 | 27548.8403 | 10526.7204 | 10526.7204 | 10388.7949 | 9832875.5433 | 3683549.5833 | 6149325.96 | 5980095.8758 | 5980095.8758 | 3242474.5932 | 3852779.6676 | 2196000 | 1487549.5833 | 169230.0842 | 1656779.6676 | 366 | 10526.7204 | 169230.0842 | 1487549.5833 | 1656779.6676 | 462.3773 | 4064.3431 | 4526.7204
L1/POD | STATE BANK OF INDIA TECH OPERATIONS | Rated | Metered | Rack | Caged | No of Racks | 325 | 279 | 46 | 325 | 0 | 14166.6667 | 170000 | Rated | KVA | 1950 | 2084.3 | -134.3 |  | 0 | 975 | 905.875 | 1194.4781 | 3250 | Metered | 1.8 | Variable | 8.2 | 652230 | [8 empty] | 4604166.6667 | 3882053.8611 | 9626914.8 | 0 |  | 18113135.3278 | 217357623.9333 | Qtry Ars | 721003444, 721003889 | 2018-02-01 | 4 | 2022-01-01 |  | 55732.7241 | 18577.5747 | 8975.5428 | 8975.5428 | 9028.2677 | 18113135.3278 | 8486220.5278 | 9626914.8 | 9361981.1125 | 9361981.1125 | 8637739.695 | 8751154.2153 | 5850000 | 2636220.5278 | 264933.6875 | 2901154.2153 | 975 | 8975.5428 | 264933.6875 | 2636220.5278 | 2901154.2153 | 271.7269 | 2703.8159 | 2975.5428
L6/POD | STATE BANK OF INDIA TECH OPERATIONS | Rated | Metered | Rack | Caged | No of Racks | 150 | 121 | 29 | 150 | 0 | 14166.6667 | 170000 | Rated | KVA | 1215 | 582 | 633 |  | 316.5 | 607.5 | 480.525 | 572.2911 | 3250 | Metered | 1.8 | Variable | 8.2 | 345978 | [8 empty] | 2125000 | 1859946.1111 | 5106635.28 | 0 |  | 9091581.3911 | 109098976.6933 | Qtry Ars | 721006047 | 2018-02-01 | 4 | 2022-01-01 |  | 60610.5426 | 14965.5661 | 6790.9156 | 6790.9156 | 6884.0339 | 9091581.3911 | 3984946.1111 | 5106635.28 | 4966100.1508 | 4966100.1508 | 5381976.2715 | 4125481.2404 | 3645000 | 339946.1111 | 140535.1292 | 480481.2404 | 607.5 | 6790.9156 | 140535.1292 | 339946.1111 | 480481.2404 | 231.3335 | 559.5821 | 790.9156
L2/POD A | THE SARASWAT CO-OP BANK LTD | Rated | Bundled | Rack | Uncaged | No of Racks | 2 | 2 | 0 | 2 |  | 41666.6667 | 500000 | Rated | KVA | 3 | 1.81 | 1.19 |  | 0.595 | 1.5 | 3.57 | -1.19 | 7500 | Bundled | [12 empty] | 83333.3333 | -8925 | 0 | 0 | 5000 | 0 | 0 | Qtry Ars | 721002684, 721003151 | 2016-01-01 | 5 | 2021-01-01 |  | 0 | 0 | 24799.739 | 20665.4362 | 39182.9436 | 74408.3333 | 58774.4153 | 15633.918 | 37208.7248 | 43410.179 | 15633.918 | 37199.6085 | 9000 | 49774.4153 | -21574.8068 | 28199.6085 | 1.5 | 24799.739 | -21574.8068 | 49774.4153 | 28199.6085 | -14383.2046 | 33182.9436 | 18799.739
L2/POD A | Citizen Credit CO-OP Bank Ltd. | Rated | Bundled | Rack | Uncaged | No of Racks | 2 | 2 | 0 | 2 |  | 34166.6667 | 410000 | Rated | KVA | 12 | 1.38 | 10.62 |  | 5.31 | 6 | 2.62 |  | 6666.6667 | Bundled | [12 empty] | 68333.3333 | 0 | 0 | 0 | 9895.8333 | 0 | 0 | Qtrly Adv | 721006178, 711136454, 731004513 | 2018-02-01 | 5 | 2023-01-01 |  | 0 | 0 | 6837.6816 | -2386.33 | 966.2769 | 68333.3333 | 5797.6613 | 62535.672 | 27307.2434 | 82651.3132 | 62535.672 | 41026.0899 | 36000 | -30202.3387 | 35228.4286 | 5026.0899 | 6 | 6837.6816 | 35228.4286 | -30202.3387 | 5026.0899 | 5871.4048 | -5033.7231 | 837.6816
L2/POD A | Sify CLOUD | Rated | Bundled | Rack | Uncaged | No of Racks | 20 | 13 | 7 | 0 |  | 0 | 0 | Rated | KVA | 120 | 19.38 | 19.54 |  | 9.77 | 60 | 18.45 |  |  | Bundled | [12 empty] | 0 | 0 | 0 | 0 |  | 0 | 0 | [6 empty] | 0 | 0 | -3204.9532 | -4902.1018 | -10422.612 | 0 | 0 | 0 | 192297.1914 | 294126.1106 | 625356.72 | -192297.1914 | 360000 | -360000 | -192297.1914 | -552297.1914 | 60 | -3204.9532 | 433059.5286 | -985356.72 | -552297.1914 | 7217.6588 | -16422.612 | -9204.9532
L2/POD A | UPL Ltd | Subscribed | Bundled | Rack | Uncaged | No of Racks | 5 | 5 | 0 | 5 |  | 26041.6667 | 312500 | Subscribed | KW | 12.6813 | 12.13 | 0.55129 |  | 0.55129 | 12.6813 | 12.13 |  | 9583.3333 | Metered |  | Fixed | 17 | 8798.411 | [8 empty] | 130208.3333 | 0 | 0 | 0 | 194166.6667 | 0 | 0 | Qtrly Adv | 121000307 | 2018-10-18 | 1 | 2019-09-19 | Renewal with consumed Power | 0 | 0 | 308.9334 | 308.9334 | -154.8576 | 130208.3333 | 0 | 130208.3333 | 126290.6607 | 126290.6607 | 132172.1267 | 3917.6727 | 76087.7177 | -76087.7177 | 3917.6727 | -72170.0451 | 12.6813 | 308.9334 | 5881.466 | -78051.5111 | -72170.0451 | 463.791 | -6154.8576 | -5691.0666
L2/POD A | UPL Ltd | Subscribed | Bundled | Rack | Uncaged | No of Racks | 2 | 2 | 0 | 2 |  | 19753.4167 | 237041 | Subscribed | KW | 1.49 | 0 | 1.49 |  | 1.49 | 1.49 | 0 |  | 9583.3333 | Metered |  | Fixed | 17 | 0 | [8 empty] | 39506.8333 | 0 | 0 | 0 |  | 0 | 0 | Qtrly Adv | 121000317 | 2019-04-19 | 0.6 | 2019-10-19 | Renewal with consumed Power | 0 | 0 | 26514.6532 | 16092.0412 | 16092.0412 | 39506.8333 | 23977.1415 | 15529.6919 | 0 | 15529.6919 | 15529.6919 | 39506.8333 | 8940 | 15037.1415 | 15529.6919 | 30566.8333 | 1.49 | 26514.6532 | 15529.6919 | 15037.1415 | 30566.8333 | 10422.612 | 10092.0412 | 20514.6532
Gr MMR-A | Vodafone | Rated | Bundled | Rack | Uncaged | No of Racks | 3 | 3 | 0 | 2 |  | 48333.3333 | 580000 | Rated | KVA | 12 | 3.8 | 8.2 |  | 4.1 | 6 | 3.8 |  |  | Bundled | [12 empty] | 48333.3333 | 0 | 0 | 0 | 100000 | 0 | 0 | Qtrly Adv | 721002789, 721004360 | 2015-11-01 | 1 | 2016-11-01 | Both the orders needs to be clubbed during renewal | 0 | 0 | 1454.568 | -5667.5502 | -2367.0564 | 48333.3333 | 0 | 48333.3333 | 39605.9256 | 82338.6348 | 62535.672 | 8727.4077 | 36000 | -36000 | 8727.4077 | -27272.5923 | 6 | 1454.568 | 22929.7464 | -50202.3387 | -27272.5923 | 3821.6244 | -8367.0564 | -4545.432
T-2 Gr MMR-A | Vodafone | Rated | Bundled | Rack | Uncaged | No of Racks | 1 | 1 | 0 | 1 |  | 76666.6667 | 920000 | Rated | KVA | 6 | 5 | 1 |  | 0.5 | 3 | 5 |  |  | Bundled | [12 empty] | 76666.6667 | 0 | 0 | 0 | 33333.3333 | 0 | 0 | Qtrly Adv | 121000391, 121000000 | 2019-06-19 | 1 | 2020-05-20 |  | 0 | 0 | 8184.5356 | 6447.4336 | 15132.9436 | 76666.6667 | 45398.8307 | 31267.836 | 52113.06 | 57324.366 | 31267.836 | 24553.6067 | 18000 | 27398.8307 | -20845.224 | 6553.6067 | 3 | 8184.5356 | -20845.224 | 27398.8307 | 6553.6067 | -6948.408 | 9132.9436 | 2184.5356
Gr MMR-A | Bharti Airtel | Rated | Bundled | Rack | Uncaged | No of Racks | 1 | 1 | 0 | 1 |  |  | 0 | Rated | KVA | 3 | 2 | 1 |  | 0.5 | 1.5 | 2 |  |  | Bundled | [12 empty] | 0 | 0 | 0 | 0 | 23333.3333 | 0 | 0 | Qtrly Adv |  |  |  |  | FOC for 1 year | 0 | 0 | -13896.816 | -17371.02 | -10422.612 | 0 | 0 | 0 | 20845.224 | 26056.53 | 15633.918 | -20845.224 | 9000 | -9000 | -20845.224 | -29845.224 | 1.5 | -13896.816 | -5211.306 | -24633.918 | -29845.224 | -3474.204 | -16422.612 | -19896.816
Gr MMR-A | Tata communication | Rated | Bundled | Rack | Uncaged | No of Racks | 5 | 5 | 0 | 5 |  | 179166.6667 | 2150000 | Rated | KVA | 15 | 10 | 5 |  | 2.5 | 7.5 | 10 |  |  | Bundled | [12 empty] | 179166.6667 | 0 | 0 | 0 | 67500 | 0 | 0 | Qtrly Adv | 721003291, 721003775 | 2016-01-01 | 1 | 2017-01-01 | 1st Rack FOC | 0 | 0 | 9992.0729 | 6517.8689 | 13466.2769 | 179166.6667 | 100997.0767 | 78169.59 | 104226.12 | 130282.65 | 78169.59 | 74940.5467 | 45000 | 55997.0767 | -26056.53 | 29940.5467 | 7.5 | 9992.0729 | -26056.53 | 55997.0767 | 29940.5467 | -3474.204 | 7466.2769 | 3992.0729
Gr MMR-B | RELIANCE COMMUNICATIONS LTD. | Rated | Bundled | Rack | Uncaged | No of Racks | 1 | 1 | 0 | 1 |  | 50000 | 600000 | Rated | KVA | 3 | 2.1 | 0.9 |  | 0.45 | 1.5 | 2.1 |  |  | Bundled | [12 empty] | 50000 | 0 | 0 | 0 |  | 0 | 0 | Qtrly Adv | 721004903 | 2017-02-17 | 1 | 2018-01-17 | PO till 31-Mar-2017 | 0 | 0 | 18741.6765 | 15614.8929 | 22910.7213 | 50000 | 34366.082 | 15633.918 | 21887.4852 | 26577.6606 | 15633.918 | 28112.5148 | 9000 | 25366.082 | -6253.5672 | 19112.5148 | 1.5 | 18741.6765 | -6253.5672 | 25366.082 | 19112.5148 | -4169.0448 | 16910.7213 | 12741.6765
Gr MMR-B | RELIANCE JIO INFOCOMM LIMITED | Rated | Bundled | Rack | Uncaged | No of Racks | 1 | 1 | 0 | 0 |  | 40000 | 480000 | Rated | KVA | 3 | 2 | 1 |  | 0.5 | 1.5 | 2 |  | 9166.6667 | Bundled | [12 empty] | 0 | 0 | 0 | 0 | 16666.6667 | 0 | 0 | Qtrly Adv | 721005279 | 2017-08-18 | 1 | 2018-07-18 | FOC for 1 year | 0 | 0 | -13896.816 | -17371.02 | -10422.612 | 0 | 0 | 0 | 20845.224 | 26056.53 | 15633.918 | -20845.224 | 9000 | -9000 | -20845.224 | -29845.224 | 1.5 | -13896.816 | -5211.306 | -24633.918 | -29845.224 | -3474.204 | -16422.612 | -19896.816
L2/POD A | HOME CREDIT INDIA FINANCE PVT.LTD | Rated | Metered | Rack | Caged | No of Racks | 10 | 10 | 0 | 10 |  | 190750 | 2289000 | Rated | KW | 40 | 12.26 | 27.74 |  | 13.87 | 20 | 12.26 |  |  | Metered | 1 | Fixed | 17 | 8704.591 | [8 empty] | 1907500 | 0 | 147978.047 | 0 | 555000 | 2610478.047 | 31325736.564 | Qtrly Adv |  | 2019-12-18 | 3 | 2021-11-21 |  | 261047.8047 | 130523.9024 | 96526.703 | 96526.703 | 97093.1798 | 2055478.047 | 1907500 | 147978.047 | 124943.9868 | 124943.9868 | 177184.404 | 1930534.0602 | 120000 | 1787500 | 23034.0602 | 1810534.0602 | 20 | 96526.703 | 23034.0602 | 1787500 | 1810534.0602 | 1151.703 | 89375 | 90526.703
L2/POD A | NU Vista (Emami Cement Ltd) | Rated | Bundled | U space | Uncaged | U Space | 22 | 22 | 0 | 22 |  | 36666.6667 | 440000 | Rated | KVA | 4.57 | 0 | 4.57 |  | 2.285 | 2.285 | 0 | -4.57 | 7500 | Bundled | [12 empty] | 806666.6667 | -34275 | 0 | 0 | 2083.3333 | 0 | 0 | Qtrly Adv | 721002743 | 2016-02-01 | 5 | 2021-02-01 | Including Managed services | 0 | 0 | 338026.9876 | 327604.3756 | 327604.3756 | 772391.6667 | 748575.9982 | 23815.6684 | 0 | 23815.6684 | 23815.6684 | 772391.6667 | 13710 | 734865.9982 | 23815.6684 | 758681.6667 | 2.285 | 338026.9876 | 23815.6684 | 734865.9982 | 758681.6667 | 10422.612 | 321604.3756 | 332026.9876
L2/POD A | Greenply Industries Ltd | Rated | Bundled | U space | Uncaged | U Space | 21 | 21 | 0 | 21 |  | 24583.3333 | 295000 | Rated | KVA | 1.5 | 3.78 | -2.28 |  | 0 | 0.75 | 3.78 | 2.28 |  | Bundled | [12 empty] | 516250 | 0 | 0 | 0 | 6250 | 0 | 0 | Qtrly Adv | 121000268, 121000174 | 2019-03-19 | 5 | 2019-02-22 | Including Managed services | 0 | 0 | 635803.3689 | 635803.3689 | 677910.7213 | 516250 | 508433.041 | 7816.959 | 39397.4734 | 39397.4734 | 7816.959 | 476852.5266 | 4500 | 503933.041 | -31580.5144 | 472352.5266 | 0.75 | 635803.3689 | -31580.5144 | 503933.041 | 472352.5266 | -42107.3525 | 671910.7213 | 629803.3689
L2/POD A | One97 Communication (Paytm) | Subscribed | Metered | Rack | Caged | No of Racks | 40 | 1 | 39 | 40 |  | 23241.6667 | 278900 | Subscribed | KW |  | 0 | 0 |  | 0 | 0 | 0 |  |  | Metered | 1 | Fixed | 13.5 | 0 |  |  | 2 | 2 | 0 | 2 |  | 6916.6667 | 929666.6667 | 0 | 0 | 13833.3333 |  | 943500 | 11322000 | Monthly Ars | 721003052, 721003964, 721004223 | 2016-02-01 | 3 | 2019-02-01 | Order for 40 & and one additional seating | 23587.5 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 929666.6667 | 929666.6667 | 0 | 0 | 0 | 0 | #DIV/0! | 0 | 929666.6667 | 0 | 929666.6667 | 0 | #DIV/0! | 0 | 929666.6667 | 929666.6667 | #DIV/0! | #DIV/0! | #DIV/0!
L2/POD B | PAYTM PAYMENTS BANK LTD | Subscribed | Metered | Rack | Caged | No of Racks | 2 | 2 | 0 | 2 |  | 17933.3333 | 215200 | Subscribed | KW | 4 | 2.17 | 1.83 |  | 1.83 | 4 | 2.17 |  |  | Metered | 1 | Fixed | 13.5 | 2716.83 | [8 empty] | 35866.6667 | 0 | 36677.205 | 0 |  | 72543.8717 | 870526.46 | Monthly Ars | 721006353 | 2018-04-18 | 1 | 2019-03-19 | Ownership Change | 36271.9358 | 18135.9679 | 8386.7571 | 8386.7571 | 8507.1465 | 72543.8717 | 35866.6667 | 36677.205 | 38996.8434 | 38996.8434 | 35436.8808 | 33547.0283 | 24000 | 11866.6667 | -2319.6384 | 9547.0283 | 4 | 8386.7571 | -2319.6384 | 11866.6667 | 9547.0283 | -579.9096 | 2966.6667 | 2386.7571
L2/POD B | PAYTM PAYMENTS BANK LTD | Subscribed | Metered | Rack | Caged | No of Racks | 3 | 2 | 1 | 2 |  |  |  | Subscribed | KW | 18 | 3.8 | 14.2 |  | 14.2 | 18 | 3.8 | [6 empty] | 0 | [29 empty] | 39605.9256 | 187607.016
L2/POD A | One97 Communication (Paytm) | Subscribed | Metered | Rack | Caged | No of Racks | 16 | 16 | 0 | 16 |  | 23447.9167 | 281375 | Subscribed | KW |  | 31.1 | -31.1 |  | 0 | 0 | 31.1 |  |  | Metered | 1 | Fixed | 13.5 | 0 | [8 empty] | 375166.6667 | 0 | 0 | 0 |  | 375166.6667 | 4502000 | Qtrly Adv |  | 2017-02-17 | 3 | 2020-01-19 | SPH for FOC | 23447.9167 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 375166.6667 | 375166.6667 | 0 | 324143.2332 | 324143.2332 | 0 | #DIV/0! | 0 | 375166.6667 | -324143.2332 | 51023.4335 | 0 | #DIV/0! | -324143.2332 | 375166.6667 | 51023.4335 | #DIV/0! | #DIV/0! | #DIV/0!
L1/POD | One97 Communication (Paytm) | Subscribed | Metered | Rack | Caged | No of Racks | 2 | 2 | 0 | 2 |  | 16250 | 195000 | Subscribed | KW | 6 | 5.7 | 0.3 |  | 0.3 | 6 | 5.7 |  |  | Metered | 1 | Fixed | 14.5 | 4264.9 | [8 empty] | 32500 | 0 | 61841.05 | 0 |  | 94341.05 | 1132092.6 | Monthly Ars | 721003964 | 2017-08-17 | 1 | 2018-07-18 |  | 47170.525 | 15723.5083 | 5520.5857 | 5520.5857 | 5579.3465 | 94341.05 | 32500 | 61841.05 | 61217.5356 | 61217.5356 | 53155.3212 | 33123.5144 | 36000 | -3500 | 623.5144 | -2876.4856 | 6 | 5520.5857 | 623.5144 | -3500 | -2876.4856 | 103.9191 | -583.3333 | -479.4143
L6/POD | One97 Communication (Paytm) | Subscribed | Metered | Rack | Caged | No of Racks | 50 | 50 | 0 | 50 |  | 27083.3333 | 325000 | Subscribed | KW | 226 | 126.44 | 99.56 |  | 99.56 | 226 | 126.44 |  |  | Metered | 1 | Fixed | 14 | 0 | [8 empty] | 1354166.6667 | 0 | 0 | 0 |  | 1354166.6667 | 16250000 | Qtrly Adv | 721007019 | 2018-09-18 | 1 | 2019-08-18 |  | 27083.3333 | 5991.8879 | 160.7593 | -4430.7241 | 5843.4677 | 1354166.6667 | 1354166.6667 | 0 | 1317835.0613 | 2355510.312 | 2002183.7652 | 36331.6054 | 1356000 | -1833.3333 | -1317835.0613 | -1319668.3946 | 226 | 160.7593 | -1317835.0613 | -1833.3333 | -1319668.3946 | -5831.1286 | -8.1121 | -5839.2407
L2/POD A | LUX INDUSTRIES LTD | Rated | Bundled | Rack | Uncaged | No of Racks | 1 | 1 | 0 | 1 |  | 33333.3333 | 400000 | Rated | KVA | 4 | 5.17 | -1.17 |  | 0 | 2 | 5.17 |  | 7500 | Bundled | [12 empty] | 33333.3333 | 0 | 0 | 0 |  | 0 | 0 | Qtrly Adv | 721003150 | 2016-02-01 | 5 | 2021-02-01 |  | 0 | 0 | -10275.7854 | -10275.7854 | 6244.0547 | 33333.3333 | 12488.1093 | 20845.224 | 53884.904 | 53884.904 | 20845.224 | -20551.5707 | 12000 | 488.1093 | -33039.68 | -32551.5707 | 2 | -10275.7854 | -33039.68 | 488.1093 | -32551.5707 | -16519.84 | 244.0547 | -16275.7854
L1/POD | One97 Communication (Paytm) | Subscribed | Metered | Rack | Caged | No of Racks | 1 | 1 | 0 | 1 |  | 16250 | 195000 | Subscribed | KW | 3 | 1.98 | 1.02 |  | 1.02 | 3 | 1.98 |  |  | Metered | 1 | Fixed | 14.5 | 4322 | [8 empty] | 16250 | 0 | 62669 | 0 |  | 78919 | 947028 | Monthly Ars | 721005437 | 2017-09-17 | 1 | 2018-08-18 |  | 78919 | 26306.3333 | 5627.2874 | 5627.2874 | 5579.3465 | 78919 | 16250 | 62669 | 62037.1378 | 62037.1378 | 26577.6606 | 16881.8622 | 18000 | -1750 | 631.8622 | -1118.1378 | 3 | 5627.2874 | 631.8622 | -1750 | -1118.1378 | 210.6207 | -583.3333 | -372.7126
L2/POD A | ECOM EXPRESS PVT LTD | Rated | Bundled | U space | Uncaged | U Space | 2 | 2 | 0 | 2 |  | 2500 | 30000 | Rated | KVA | 0.5 | 0.27 | 0.23 |  | 0.115 | 0.25 | 0.27 |  |  | Bundled | [12 empty] | 5000 | 0 | 0 | 0 | 1666.6667 | 0 | 0 | Qtrly Adv | 721005181 | 2017-08-17 | 1 | 2018-07-01 |  | 0 | 0 | 8743.579 | 3949.1775 | 9577.388 | 5000 | 2394.347 | 2605.653 | 2814.1052 | 4012.7056 | 2605.653 | 2185.8948 | 1500 | 894.347 | -208.4522 | 685.8948 | 0.25 | 8743.579 | -208.4522 | 894.347 | 685.8948 | -833.809 | 3577.388 | 2743.579
L2/POD A | THE ORIENTAL INSURANCE CO LTD | Subscribed | Bundled | Space | Caged | Sq Ft | 600 | 600 | 0 | 600 |  | 518.1667 | 6218 | Subscribed | KVA | 60 | 35 | 25 |  | 25 | 60 | 35 |  |  | Bundled | 1 | Variable | 8.2 | 23257.9783 | No of Seats | No of Seats | 7 | 7 | 0 | 7 |  | 7650 | 310900 | 0 | 190715.4218 | 53550 |  | 0 | 0 | Qtry Ars | 721002807 | 2016-01-01 | 10 | 2026-01-01 |  | 0 | 0 | 2796.2496 | 2796.2496 | -5240.9453 | 501615.4218 | 0 | 501615.4218 | 333840.4447 | 333840.4447 | 625356.72 | 167774.9771 | 360000 | -360000 | 167774.9771 | -192225.0229 | 60 | 2796.2496 | 291516.2753 | -674456.72 | -382940.4447 | 4858.6046 | -11240.9453 | -6382.3407
L2/POD A | NETSKOPE INC | Subscribed | Bundled | Rack | Uncaged | No of Racks | 2 | 1 | 1 | 0 |  | 197200 | 2366400 | Subscribed | KVA | 12 | 14.78 | -2.78 |  | 0 | 12 | 14.78 |  | 19040 | Bundled | [12 empty] | 0 | 0 | 0 | 0 | 51000 | 0 | 0 | Qtrly Adv | 121000378 |  | 1 |  |  | 0 | 0 | -12837.1838 | -12837.1838 | -10422.612 | 0 | 0 | 0 | 154046.2054 | 154046.2054 | 125071.344 | -154046.2054 | 72000 | -72000 | -154046.2054 | -226046.2054 | 12 | -12837.1838 | -28974.8614 | -197071.344 | -226046.2054 | -2414.5718 | -16422.612 | -18837.1838
L1/POD | AP MAHESH CO-OP URBAN BANK LIMITED | Rated | Bundled | Rack | Uncaged | No of Racks | 2 | 2 | 0 | 2 |  | 45416.6667 | 545000 | Rated | KVA | 12 | 11.093 | 0.907 |  | 0.4535 | 6 | 11.093 | -0.907 |  | Bundled | [6 empty] | 1 | 1 | 0 | 1 |  | 8333.3333 | 90833.3333 | 0 | 0 | 8333.3333 |  | 0 | 0 | Qtrly Adv | 721003774 | 2016-06-01 |  |  | Including Managed services | 0 | 0 | -4130.7836 | -4918.5594 | 4716.2769 | 90833.3333 | 28297.6613 | 62535.672 | 115618.0349 | 120344.6895 | 62535.672 | -24784.7016 | 36000 | -7702.3387 | -53082.3629 | -60784.7016 | 6 | -4130.7836 | -53082.3629 | -7702.3387 | -60784.7016 | -8847.0605 | -1283.7231 | -10130.7836
L1/POD | CHINA TELECOM INDIA PVT LTD | Rated | Bundled | Rack | Uncaged | No of Racks | 2 | 2 | 0 | 2 |  | 71666.6667 | 860000 | Rated | KW | 4 | 20.265 | -16.265 |  | 0 | 2 | 20.265 |  | 17083.3333 | Bundled |  |  |  |  | No of Seats | No of Seats | 2 |  | 2 |  |  | 15833.3333 | 143333.3333 | 0 | 0 | 0 | 122500 | 0 | 0 | Qtry Ars |  | 2019-01-19 | 1 | 2019-12-19 |  | 0 | 0 | -33940.4494 | -33940.4494 | 61244.0547 | 143333.3333 | 122488.1093 | 20845.224 | 211214.2322 | 211214.2322 | 20845.224 | -67880.8988 | 12000 | 110488.1093 | -190369.0082 | -79880.8988 | 2 | -33940.4494 | -190369.0082 | 110488.1093 | -79880.8988 | -95184.5041 | 55244.0547 | -39940.4494
L1/POD | The Vishweshwar Sahakari Bank Ltd | Subscribed | Bundled | Rack | Uncaged | No of Racks | 1 | 1 | 0 | 1 |  | 50000 | 600000 | Subscribed | KVA | 6 | 13.03 | -7.03 |  | 0 | 6 | 13.03 | 7.03 | 7500 | Bundled |  |  |  | 1237.8 | [8 empty] | 50000 | 52725 | 0 | 0 |  | 0 | 0 | Qtrly Adv | 721004242 | 2016-12-16 | 3 | 2019-11-01 |  | 0 | 0 | 14159.6437 | 14159.6437 | 6698.2213 | 102725 | 40189.328 | 62535.672 | 17767.1377 | 17767.1377 | 62535.672 | 84957.8623 | 36000 | 4189.328 | 44768.5343 | 48957.8623 | 6 | 14159.6437 | 44768.5343 | 4189.328 | 48957.8623 | 7461.4224 | 698.2213 | 8159.6437
L1/POD | Polestar Consulting | Subscribed | Metered | Rack | Caged | No of Racks | 6 | 6 | 0 | 6 |  | 18750 | 225000 | Subscribed | KW | 15 | 13.04 | 1.96 |  | 1.96 | 15 | 13.04 | -1.96 |  | Metered |  | Fixed | 16 | 9618.2 |  |  | 1 | 1 | 0 | 1 |  | 3333.3333 | 112500 | 0 | 0 | 3333.3333 |  | 115833.3333 | 1390000 | Qtry Ars | 721005779 | 2018-01-18 | 4.5 | 2018-05-22 |  | 19305.5556 | 7722.2222 | -1703.85 | -1703.85 | -1359.2202 | 112500 | 112500 | 0 | 138057.7507 | 138057.7507 | 132888.303 | -25557.7507 | 90000 | 22500 | -138057.7507 | -115557.7507 | 15 | -1703.85 | -138057.7507 | 22500 | -115557.7507 | -9203.85 | 1500 | -7703.85
Gr MMR-B | STATE BANK OF INDIA- NETWORK DEPARTMENT | Rated | Bundled | Rack | Uncaged | No of Racks | 2 | 2 | 0 | 2 |  | 50000 | 600000 | Rated | KVA | 7 | 1 | 6 |  | 3 | 3.5 | 1 |  |  | Bundled |  |  |  | 158430 | [8 empty] | 100000 | 0 | 0 | 0 |  | 0 | 0 | Qtry Ars | 721004950 | 2017-02-17 | 3 | 2020-01-18 | Racks for BSNL | 0 | 0 | -621163.7296 | -621163.7296 | 18148.8166 | 100000 | 63520.858 | 36479.142 | 2274073.0534 | 2274073.0534 | 36479.142 | -2174073.0534 | 21000 | 42520.858 | -2237593.9114 | -2195073.0534 | 3.5 | -621163.7296 | -2237593.9114 | 42520.858 | -2195073.0534 | -639312.5461 | 12148.8166 | -627163.7296
L1/POD | TIMESOFMONEY PVT.LTD. (UNIMONEY) | Rated | Bundled | Rack | Uncaged | No of Racks | 2 | 2 | 0 | 2 |  | 51666.6667 | 620000 | Rated | KVA | 12 | 0 | 12 |  | 6 | 6 | 0 | -12 | 7916.6667 | Bundled | [12 empty] | 103333.3333 | -95000 | 0 | 0 | 30333.3333 | 0 | 0 | Qtry Ars | 721005069, 731003658, 711107213 | 2017-03-17 | 1 | 2018-02-18 | managed servceis & Bandwidth | 0 | 0 | 1388.8889 | -9033.7231 | -9033.7231 | 8333.3333 | 0 | 8333.3333 | 0 | 62535.672 | 62535.672 | 8333.3333 | 36000 | -36000 | 8333.3333 | -27666.6667 | 6 | 1388.8889 | 62535.672 | -90202.3387 | -27666.6667 | 10422.612 | -15033.7231 | -4611.1111
L1/POD | NAVI Technologies (Earlier DHFL) | Rated | Bundled | Rack | Caged | No of Racks | 6 | 6 | 0 | 6 |  | 50000 | 600000 | Rated | KVA | 36 | 49.5 | -13.5 |  | 0 | 18 | 49.5 | 13.5 | 7500 | Bundled | [12 empty] | 300000 | 101250 | 0 | 0 | 10833.3333 | 0 | 0 | Qtry Ars | 721005411 | 2017-09-17 | 5 | 2022-08-01 | managed servceis | 0 | 0 | -6370.5163 | -6370.5163 | 11869.0547 | 401250 | 213642.984 | 187607.016 | 515919.294 | 515919.294 | 187607.016 | -114669.294 | 108000 | 105642.984 | -328312.278 | -222669.294 | 18 | -6370.5163 | -328312.278 | 105642.984 | -222669.294 | -18239.571 | 5869.0547 | -12370.5163
Gr MMR-B | Microscan Infocommtech Pvt Ltd. | Rated | Bundled | Rack | Uncaged | No of Racks | 1 | 1 | 0 | 1 |  | 35416.6667 | 425000 | Rated | KVA | 3 | 0.6 | 2.4 |  | 1.2 | 1.5 | 0.6 |  | 9166.6667 | Bundled | [12 empty] | 35416.6667 | 0 | 0 | 0 |  | 0 | 0 | Monthly Adv | 721004131 | 2019-05-17 | 1 | 2020-05-18 |  |  |  | 19442.0663 | 11103.9767 | 13188.4991 | 35416.6667 | 19782.7487 | 15633.918 | 6253.5672 | 18760.7016 | 15633.918 | 29163.0995 | 9000 | 10782.7487 | 9380.3508 | 20163.0995 | 1.5 | 19442.0663 | 9380.3508 | 10782.7487 | 20163.0995 | 6253.5672 | 7188.4991 | 13442.0663
L1/POD | EIT SERVICES INDIA PVT (IPPB) | Subscribed | Metered | Rack | Caged | No of Racks | 16 | 16 | 0 | 16 |  | 17500 | 210000 | Subscribed | KW | 48 | 49.1 | -1.1 |  | 0 | 48 | 49.1 |  | - | Metered |  | Fixed | 15 | 0 |  | No of Seats | 20 | 20 | 0 | 20 |  | 13333.3328 | 280000 |  |  |  |  | 280000 | 3360000 | Monthly Ars | 721005781 | 2017-10-17 | 6 | 2023-09-23 |  | 17500 | 5833.3333 | -4828.1302 | -4828.1302 | -3025.8869 | 280000 | 280000 | 0 | 511750.2492 | 511750.2492 | 425242.5696 | -231750.2492 | 288000 | -8000 | -511750.2492 | -519750.2492 | 48 | -4828.1302 | -511750.2492 | -8000 | -519750.2492 | -10661.4635 | -166.6667 | -10828.1302
L1/POD | EIT SERVICES INDIA PVT (IPPB) | Subscribed | Metered | Rack | Caged | No of Racks | 1 | 1 | 0 | 1 |  | 17500 | 210000 | Subscribed | KW | 3 | 1.09 | 1.91 |  | 1.91 | 3 | 1.09 |  | - | Metered |  | Fixed | 15 | 0 |  | No of Seats | [6 empty] | 17500 |  |  |  |  | 17500 | 210000 | Monthly Ars | 721006515 & 721006516 | 2018-06-18 | 1 | 2019-05-19 |  | 17500 | 5833.3333 | 2046.451 | -4589.2787 | -3025.8869 | 17500 | 17500 | 0 | 11360.6471 | 31267.836 | 26577.6606 | 6139.3529 | 18000 | -500 | -11360.6471 | -11860.6471 | 3 | 2046.451 | -11360.6471 | -500 | -11860.6471 | -3786.8824 | -166.6667 | -3953.549
L1/POD | EIT SERVICES INDIA PVT (IPPB) | Subscribed | Metered | Rack | Caged | No of Racks | 1 | 1 | 0 | 1 |  |  |  | Subscribed | KW | 3 | 0.4 | 2.6 |  |  | 3 | [39 empty] | 26577.6606 |  | 18000 |  |  |  | 3
L1/POD | New India Assurance Co. Ltd. | Subscribed | Metered | Rack | Caged | No of Racks | 18 | 18 | 0 | 18 |  | 24074.0833 | 288889 | Subscribed | KW | 80 | 52.7 | 27.3 |  | 27.3 | 80 | 52.7 |  | 0 | Metered | 1.7 | Variable | 8.2 | 37508.5996 |  |  | 3 | 3 | 0 | 3 |  | 4166.6667 | 433333.5 | 0 | 522869.8786 | 12500 |  | 968703.3786 | 11624440.5427 | Qtry Ars | 721004444 | 2017-02-17 | 5 | 2022-01-22 |  | 53816.8544 | 12108.7922 | 5222.654 | 5222.654 | 5230.9165 | 956203.3786 | 433333.5 | 522869.8786 | 538391.0601 | 538391.0601 | 708737.616 | 417812.3185 | 480000 | -46666.5 | -15521.1815 | -62187.6815 | 80 | 5222.654 | -15521.1815 | -46666.5 | -62187.6815 | -194.0148 | -583.3312 | -777.346
L2/POD A | TATA SIA AIRLINES LTD | Rated | Bundled | Rack | Uncaged | No of Racks | 2 | 2 | 0 | 2 |  | 79166.6667 | 950000 | Rated | KVA | 8 | 0 | 8 |  | 4 | 4.35 | 0 |  | 15833.3333 | Bundled | [12 empty] | 158333.3333 | 0 | 0 | 0 | 3333.3333 | 0 | 0 | Qtrly Adv | 721005672 | 2017-12-01 | 1 | 2018-11-01 |  | 0 | 0 | 36398.4674 | 26814.4564 | 25975.8554 | 158333.3333 | 112994.9711 | 45338.3622 | 0 | 41690.448 | 45338.3622 | 158333.3333 | 26100 | 86894.9711 | 45338.3622 | 132233.3333 | 4.35 | 36398.4674 | 45338.3622 | 86894.9711 | 132233.3333 | 10422.612 | 19975.8554 | 30398.4674
L2/POD A | IFCI Ltd | Rated | Bundled | Rack | Uncaged | No of Racks | 1 | 1 | 0 | 1 |  | 35000 | 420000 | Rated | KVA | 3 | 4.69 | -1.69 |  | 0 | 1.5 | 4.69 |  | 7500 | Bundled | [12 empty] | 35000 | 0 | 0 | 0 | 3333.3333 | 0 | 0 | Qtrly Adv | 721006056, 731004420 | 2018-01-01 | 1 | 2018-12-18 | RPH for FOC | 0 | 0 | -9254.7002 | -9254.7002 | 12910.7213 | 35000 | 19366.082 | 15633.918 | 48882.0503 | 48882.0503 | 15633.918 | -13882.0503 | 9000 | 10366.082 | -33248.1323 | -22882.0503 | 1.5 | -9254.7002 | -33248.1323 | 10366.082 | -22882.0503 | -22165.4215 | 6910.7213 | -15254.7002
L1/POD | INFRASOFT TECHNOLOGIES LIMITIED | Rated | Bundled | Rack | Uncaged | No of Racks | 4 | 4 | 0 | 4 |  | 206962.0833 | 2483545 | Rated | KVA | 24 | 47.92 | -23.92 |  | 0 | 12 | 47.92 |  | 8000 | Bundled |  |  |  |  | No of Seats | No of Seats | 1 | 1 | 0 |  |  | 7916.6667 | 827848.3333 | 0 | 0 | 0 | 210500 | 0 | 0 | Qtrly Adv |  | 2018-10-18 | 3 | 2021-09-21 | Managed services | 0 | 0 | 27366.3972 | 27366.3972 | 58564.7491 | 827848.3333 | 702776.9893 | 125071.344 | 499451.567 | 499451.567 | 125071.344 | 328396.7663 | 72000 | 630776.9893 | -374380.223 | 256396.7663 | 12 | 27366.3972 | -374380.223 | 630776.9893 | 256396.7663 | -31198.3519 | 52564.7491 | 21366.3972
L2/POD A | ADP Private Limited | Rated | Bundled | Rack | Uncaged | No of Racks | 1 | 1 | 0 | 1 |  | 40416.6667 | 485000 | Rated | KVA | 3 | 2.64 | 0.36 |  | 0.18 | 1.5 | 2.64 |  | 7500 | Bundled | [12 empty] | 40416.6667 | 0 | 0 | 0 | 36250 | 0 | 0 | Qtrly Adv | 721005373 & 721005414 | 2017-08-01 | 1 | 2018-07-01 |  | 0 | 0 | 8600.6473 | 7349.9339 | 16521.8324 | 40416.6667 | 24782.7487 | 15633.918 | 27515.6957 | 29391.7658 | 15633.918 | 12900.971 | 9000 | 15782.7487 | -11881.7777 | 3900.971 | 1.5 | 8600.6473 | -11881.7777 | 15782.7487 | 3900.971 | -7921.1851 | 10521.8324 | 2600.6473
L6/POD | THE TATA POWER COMPANY LIMITED | Subscribed | Bundled | Rack | Uncaged | No of Racks | 20 | 20 | 0 | 20 |  | 11161.6667 | 133940 | Subscribed | KVA | 40 | 53.9 | -13.9 |  | 0 | 40 | 48.51 | 13.9 | 10808.3333 | Bundled | 1.7 | Variable | 8.2 | 35316.3823 | [8 empty] | 223233.3333 | 150235.8333 | 492310.3696 | 0 | 130000 | 0 | 0 | Monthly Ars | 721006087 & 721006631 | 2018-06-01 | 3 | 2021-05-01 |  | 0 | 0 | 8971.3783 | 8971.3783 | -1085.8828 | 865779.5363 | 448875.0563 | 416904.48 | 506924.4044 | 506924.4044 | 416904.48 | 358855.1319 | 240000 | 208875.0563 | -90019.9244 | 118855.1319 | 40 | 8971.3783 | -90019.9244 | -283435.3133 | -373455.2377 | -2250.4981 | -7085.8828 | -9336.3809
L6 POD | ZENLAYER INC | Subscribed | Bundled | Rack | Uncaged | No of Racks | 19 | 19 | 0 | 19 |  | 152592 | 1831104 | Subscribed | KW | 47.64 | 49.41 | -1.77 |  | 0 | 47.64 | 49.41 |  | 7842.6667 | Bundled | [12 empty] | 2899248 | 0 | 0 | 0 | 55216 | 0 | 0 | Qtrly Adv |  | 2018-05-18 | 1 | 2019-04-19 |  | 0 | 0 | 50047.5806 | 50047.5806 | 50434.8187 | 2899248 | 2402714.7643 | 496533.2357 | 514981.2589 | 514981.2589 | 496533.2357 | 2384266.7411 | 285840 | 2116874.7643 | -18448.0232 | 2098426.7411 | 47.64 | 50047.5806 | -18448.0232 | 2116874.7643 | 2098426.7411 | -387.2381 | 44434.8187 | 44047.5806
L6/POD | SBI-General Insurance Company Ltd | Subscribed | Subscribed | Rack | Uncaged | No of Racks | 24 | 24 | 0 | 24 |  | 480000 | 5760000 | Subscribed | KVA | 192 | 53.6 | 138.4 |  | 138.4 | 192 | 53.6 |  |  | Metered | 1.7 | Variable | 8.2 | 38599.8243 |  | No of Swats | 15 | 15 | 0 | 0 |  | 133333.3333 | 11520000 | 0 | 538081.551 | 0 | 145000 | 0 | 0 | Qtrly Adv |  | 2019-01-19 | 5 | 2019-12-23 |  | 0 | 0 | 59916.8087 | 59916.8087 | 59814.2478 | 12058081.551 | 11520000 | 538081.551 | 554054.2849 | 554054.2849 | 1700970.2784 | 11504027.2661 | 1152000 | 10368000 | -15972.7339 | 10352027.2661 | 192 | 59916.8087 | -15972.7339 | 10368000 | 10352027.2661 | -83.1913 | 54000 | 53916.8087
L6/POD | HARMAN INTERNATIONAL INDIA PVT LTD | Subscribed | Bundled | Rack | Caged | No of Racks | 6 | 6 | 0 | 6 |  | 191666.6667 | 2300000 | Subscribed | KVA | 18 | 9.09 | 8.91 |  | 8.91 | 18 | 6.22 |  | 7500 | Bundled |  |  |  | 0 | [8 empty] | 1150000 | 0 | 0 | 0 | 50000 | 0 | 0 | Qtrly Adv | 721006066, 721006000 | 2018-02-18 | 1 | 2019-01-19 |  | 0 | 0 | 60287.2974 | 55128.1045 | 53466.2769 | 1150000 | 962392.984 | 187607.016 | 64828.6466 | 157694.1196 | 187607.016 | 1085171.3534 | 108000 | 854392.984 | 122778.3694 | 977171.3534 | 18 | 60287.2974 | 122778.3694 | 854392.984 | 977171.3534 | 6821.0205 | 47466.2769 | 54287.2974
Total | [6 empty] | 1560 | 1427 | 133 | [10 empty] | 711.2698 | [20 empty] | 341550 | 1591312.2492
L1/POD | FINVASIA | Rated | Bundled | Rack | Uncaged | No of Racks | 1 | 1 | 0 | 1 |  |  | 0 | Rated | KVA | 3 | 4.14 | -1.14 |  | 0 | 1.5 | 4.14 |  |  | Bundled | [12 empty] | 0 | 0 | 0 | 0 |  | 0 | 0
L2/POD A | MANNAPURAM | Rated | Bundled | Rack | Uncaged | No of Racks | 1 | 1 | 0 | 1 |  |  |  | Rated | KVA | 1.5 | 3.15 | -1.65 |  |  |  | 3.15
L1/POD | DECIX | Subscribed | Bundled | Rack | Uncaged | No of Racks | 1 | 1 | 0 | 1 |  |  |  | Subscribed | KW | 3 | 1.35 | 1.65 |  |  |  | 1.35 | [6 empty] | 2242.22
L1/POD | Telstra | Rated | Bundled | Rack | Uncaged | No of Racks | 1 | 1 | 0 | 1 |  |  |  | Rated | KVA | 3 | 1.8744 | 1.1256 |  |  |  | 1.8744
L1/POD | MORE RETAIL LTD | Rated | Bundled | Rack | Uncaged | No of Racks | 3 | 3 | 0 | 3 |  |  |  | Rated | KVA | 11 | 10.38 | 0.62 |  |  |  | 10.38
L2/POD A | EXTREM | Rated | Bundled | U space | Uncaged | U Space | 21 | 21 | 0 |  |  |  |  | Rated | KVA | 1 | 0.26 | 0.74 |  |  |  | 0.26
L2/POD A | PHONON | Rated | Bundled | U space | Uncaged | U Space | 2 | 2 | 0 |  |  |  |  | Rated | KVA | 0.75 | 0.13333 | 0.61667 |  |  |  | 0.13333
L6/POD | NETFLIX | Rated | Bundled | Rack | Uncaged | No of Racks | 1 | 1 | 0 |  |  |  |  | Rated | KVA | 4 | 3.25 | 0.75 |  |  |  | 3.25
L2/POD A | E2S | Rated | Bundled | U space | Uncaged | U Space | [7 empty] | Rated | KVA |  | 0.34889 |  |  |  |  | 0.34889
L2/POD B | RKSV | Rated | Bundled | Rack | Uncaged |  | 4 | 4 | 0 |  |  |  |  | Rated | KVA |  | 4.43 |  |  |  |  | 4.43
L2/POD A | Ishan |  |  | U space | Uncaged | U Space | 3 | 2 | 1 |  |  |  |  | Rated | KVA |  | 0.147 |  |  |  |  | 0.147
L6 POD | PSB(PUNJAB & SIND BANK) |  |  | Rack |  |  | 4 | 4 | 0 | [7 empty] | 6.53
T1L1 TC Room | PIONEER ELABS LIMITED | [15 empty] | 2.7777 |  |  |  |  | 2.7777
L1/POD | NATIONAL STOCK EXCHANGE OF INDIA LIMITED | [15 empty] | 3.8 |  |  |  |  | 3.8
L1/POD | RUPEESEED TECHNOLOGY | [15 empty] | 2.84 |  |  |  |  | 2.84
L6/POD | RUPEESEED TECHNOLOGY | [15 empty] | 3.956 |  |  |  |  | 3.956
Note on C2: Swapnil Rode: FROM DCCP
Note on C3: Swapnil Rode: From DCCP
Note on G22: Sreejith G: Formula added
Note on O22: Sreejith G: Formula
Note on V22: Sreejith G: Added by David
Note on Z22: Sreejith G: Formula
Note on AQ23: Manoj S. Chaudhari: Backup, Tape Rotation & Cross connect
Note on AQ25: Manoj S. Chaudhari: Cross connect, Safe Vault & Tape Rotation)
Note on AQ26: Manoj S. Chaudhari: Cross connect, Safe Vault & Tape Rotation)
Note on AT27: Sreejith G: Power usage on Monthly Ars
Note on AT28: Sreejith G: Power usage on Monthly Ars
Note on AT29: Sreejith G: Power usage on Monthly Ars
Note on AQ30: Manoj S. Chaudhari: Smart Pair of Hands
Note on AQ31: Manoj S. Chaudhari: Cross connect, SPH, Tape Rotation
Note on Y35: Manoj S. Chaudhari: not Captured in PO
Note on AQ35: Manoj S. Chaudhari: cross connect
Note on Y36: Manoj S. Chaudhari: not Captured in PO
Note on AQ36: Manoj S. Chaudhari: cross connect
Note on M37: Sreejith G: FoC for first year
Note on Y37: Manoj S. Chaudhari: not Captured in PO
Note on AQ37: Manoj S. Chaudhari: cross connect
Note on K38: Manoj S. Chaudhari: 1st Rack FOC for 1st year
Note on Y38: Manoj S. Chaudhari: not Captured in PO
Note on AQ38: Manoj S. Chaudhari: Cross connect
Note on AQ39: Manoj S. Chaudhari: cross connect
Note on AQ40: Manoj S. Chaudhari: cross connect
Note on M41: Manoj S. Chaudhari: First one year free. From second year onwards 8750 if not used
Note on H42: Sreejith G: Half Rack space as per PO
Note on Y42: Sreejith G: Rate only for 6 months as per PO
Note on Y44: Manoj S. Chaudhari: not Captured in PO
Note on AL44: Sreejith G: One bundled with initial order (OTC charged)
Note on Y45: Manoj S. Chaudhari: not Captured in PO
Note on AL45: Sreejith G: One bundled with initial order (OTC charged)
Note on Y47: Manoj S. Chaudhari: not Captured in PO
Note on AL47: Sreejith G: One bundled with initial order (OTC charged)
Note on Y48: Manoj S. Chaudhari: not Captured in PO
Note on AL48: Sreejith G: One bundled with initial order (OTC charged)
Note on Y49: Manoj S. Chaudhari: not Captured in PO
Note on AL49: Sreejith G: One bundled with initial order (OTC charged)
Note on Y51: Manoj S. Chaudhari: not Captured in PO
Note on AL51: Sreejith G: One bundled with initial order (OTC charged)
Note on Y52: Manoj S. Chaudhari: not Captured in PO
Note on AQ52: Manoj S. Chaudhari: Cross connect
Note on B53: Sreejith G: No Additional Power capacity charges. Ensure Capacity usage within limit
Note on Y53: Manoj S. Chaudhari: not Captured in PO
Note on Y55: Manoj S. Chaudhari: not Captured in PO
Note on AQ61: Manoj S. Chaudhari: Cross connect
Note on AQ67: Manoj S. Chaudhari: AWS Cross connect & CAT-6 ross connect
Note on AQ68: Manoj S. Chaudhari: AWS Cross connect & CAT-6 ross connect
Note on AQ69: Manoj S. Chaudhari: AWS Cross connect & CAT-6 ross connect
Note on AQ70: Manoj S. Chaudhari: AWS Cross connect & CAT-6 ross connect
Note on AQ76: Manoj S. Chaudhari: AWS Cross connect & CAT-6 ross connect

## Rabale-T2
Power Usage (All in KW) | Maximum Usable Capacity | Current utilization | Committed (Based on Confirmed orders) | Total | Balance |  |  |  | Target Revenue Thresholds | Target Power Revenue Margin (Bundled) | Target Power Revenue Margin (Metered)
Raw Power (Genset & Transformer & Demand) - KW | 10335 | 8144.2429 | 17569.5 | 25713.7429 | -15378.7429 |  | Product DOA |  | 6000 | 0% | 5%
UPS Capacity (IDC Output of UPS) L1 | 1600 | 1247.6521 | 1600 | 1247.6521 | 352.3479 |  |  |  | From | To
UPS Capacity (IDC Output of UPS) L2 | 1600 | 842.0279 | 1600 | 842.0279 | 757.9721 |  |  | Far Above | 9000 | Above
UPS Capacity (IDC Output of UPS) L3 | 596 | 876 | 596 | 876 | -280 |  |  | Above | 7200 | 9000
UPS Capacity (IDC Output of UPS) L4 | 1720 | 1388.417 | 1720 | 1388.417 | 331.583 |  |  | Within | 6000 | 7200
UPS Capacity (IDC Output of UPS) L5 | 1680 | 1344.3158 | 1680 | 1344.3158 | 335.6842 |  |  | Far Below | 0 | #REF!
UPS Capacity (IDC Output of UPS) L6 | 1800 | 1517.8301 | 1800 | 1517.8301 | 282.1699
UPS Capacity (IDC Output of UPS) L7 | 1339 | 928 | 1339 | 928 | 411
Space at L1 Server Hall in Sq. Ft |  | 7713 | 0 | 7713 | -7713 | [22 empty] | 1339
Space at L2 Server Hall in Sq. Ft |  | 9400 | 0 | 9400 | -9400
Space at L3 Server Hall in Sq. Ft |  | 10500 | 0 | 10500 | -10500
Space at L4 Server Hall in Sq. Ft |  | 10500 | 0 | 10500 | -10500
Space at L5 Server Hall in Sq. Ft |  | 7000 | 0 | 7000 | -7000 |  | 629 | -971
Space at L6 Server Hall in Sq. Ft |  | 49 | 0 | 49 | -49 |  | -1577.1
Space at L7 Server Hall in Sq. Ft |  | 0 | 0 | 0 | 0 |  | -948.1
Shared Racks in L1-POD-Nos |  |  | 0 | 0 | 0
Shared Racks in L2-POD-Nos
Shared Racks in L3-POD-Nos | 210
Shared Racks in L4-POD-Nos
Shared Racks in L5-POD-Nos
Shared Racks in L6-POD-Nos
Shared Racks in L7-POD-Nos
[18 empty] | Divisification |  | 0.5 | Rated to Consumed |  | 0% |  | Actual PUE | 1.78 | Actual Unit Rate: | 7.9 | 10422.612 | Genset Hr/Mo | 6
|  | Billing Model |  | Space | [9 empty] | Power Capacity | [10 empty] | Power Usage |  |  |  |  | Seating Space | [7 empty] | Revenue (Monthly ) | [7 empty] | Contract Information
Floor / Module | Customer Name | Power Subscription Model (Rated/Subscribed) | Power Usage Model (Bundled / Metered) | Subscription Mode | Caged /Uncaged | UoM | Subscription | In Use | Yet to be given/ | Billed | Reserved Capacity if any (Non-Billable) | Per Unit rate (MRC) | ARC | Subscription Model | UoM | Total Capacity Purchased | Capacity in Use | Capacity to be given | Reserved Capacity if any | Subscribed Capacity to be given in KW | "Allocated" Capacity in KW | Usage in KW | Billable Additional Capacity | Additional Capacity Charges (MRC) | Usage Model | Multiplier | Uit rate Model (Fixed/Variable) | Unit Rate (per KW-HR) | No Of Units (KW-HR/ Month | Subscription Model | UoM | Subscription | In Use | Yet to be given | Billed | Reserved Capacity if any | Per Unit rate | Space revenue including capacity | Additional Capacity Revenue | Power Usage revenue | Seating Space | Any Other Items | Total Revenue (MRC) | ARC | Billing Frequency | Sales Order ref No | Contract Start Date | Term of Contract (No of Years) | Current Exiry Date | Remarks if any | Avg revenue /Rack /Month | Avg revenue /KW /Month | Net Revenue / Resvd KW | Proj Net Revenue / Resvd KW | Sold Net Revenue / Resvd KW | Total Rev (Cap + Power) | Capacity Revenue | Power Revenue | Cost of Power @ Act Usage | Proj Cost of Power @ Reserv Cap | Cost of Power @ Design Use | Net Rev Total | Target Capacity Revenue | Capacity Surplus/Leakage | Power Surplus/Leakage | Contribution to Target | KW | Power Surplus/Leakage | Capacity Surplus/Leakage | Total Surplus/Leakage | Power Surplus/Leakage / KW | Capacity Surplus/Leakage / KW | Total Surplus/Leakage / KW
T2 L1 | Bom 01 | Rated | Bundled | Rack | Caged | No of Racks | 228 | 185 | 43 |  | 0 |  |  |  | KW | 1600 | 1244.42 | 355.58 | [10 empty] | 928559.5
T2 L2 | Bom 01 | Rated | Bundled | Rack | Caged | No of Racks | 228 | 157 | 71 |  | 0 |  |  |  | KW | 1600 | 717.25 | 882.75 | [10 empty] | 530386.69
T2 L3 | SBI | Rated | Bundled | Rack | Caged | No of Racks | 50 | 49 | 1 |  | 0 |  |  |  | KVA | 450 | 500.81 | -50.81 | [10 empty] | 171130
T2 L3 | L3 HDFC | Rated | Bundled | Rack | Caged | No of Racks | 160 | 149 | 11 |  | 0 |  |  |  | KVA | 607 | 555.3708 | 51.6292 | [10 empty] | 399867
T2 L4 | Bom 52 | Rated | Bundled | Rack | Caged | No of Racks | 234 | 185 | 49 |  | 0 |  |  |  | KW | 1720 | 1298.4565 | 421.5435 | [10 empty] | 934888.69
T2 L5 | Bom 52 | Rated | Bundled | Rack | Caged | No of Racks | 234 | 178 | 56 |  | 0 |  |  |  | KW | 1680 | 1148.3906 | 531.6094 | [10 empty] | 826841.25
T2 L6 | Bom 52 | Rated | Bundled | Rack | Caged | No of Racks | 234 | 197 | 37 |  | 0 |  |  |  | KW | 1800 | 1166.2382 | 633.7618 | [10 empty] | 839691.5
T2 L7 | ADYEN | Rated | Bundled | Rack | Caged | No of Racks | 32 | 32 | 0 |  | 0 |  |  |  | KVA | 384 | 124.2 | 259.8 |  | 259.8 | 384 |  |  |  | Bundled |  |  |  | 90070 | [8 empty] | 0 | 0 | #REF! | 0
T2 L7 | FaceBook | Rated | Bundled | Rack | Caged | No of Racks | 64 | 62 | 2 |  | 0 |  |  |  | KVA | 440 | 20.88 | 419.12 | [10 empty] | 15540
T2 L7 | L7 HDFC | Rated | Bundled | Rack | Caged | No of Racks | 100 | 97 | 3 |  | 0 |  |  |  | KVA | 515 | 999.6 | -484.6 | [10 empty] | 335395.4
Note on O29: Sreejith G: Formula
Note on V29: Sreejith G: Added by David
Note on Z29: Sreejith G: Formula
Note on Q34: T2 L4 :- 1600 Kw T2 L3:- 120 Kw
Note on Q35: T2 L5 :- 1600 Kw T2 L3:- 80 Kw
Note on Q36: T2 L6 :- 1600 Kw T2 L3:- 200 Kw